## Disclaimer
Product is now Obsoleted
Our policy is one of continuous development. Accordingly the design of our products may change at any time.
Whilst every effort is made to produce up to date literature, this document should only be regarded as a guide and is intended for information purposes only.
Its contents do not constitute an offer for sale or advice on the application of any product referred to in it. We cannot be held responsible for any reliance on any decisions taken on its contents without specific advice.
Language Selection

## Cortec
Product is now Obsoleted
Information required with order:
Variants | Order Number
| 1-5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14-15 | 16
Model type: | bar: Order Number 1-5 to Order Number 9
MU320 Integrated Merging Unit | Order Number 1-5: MU320
Power Supply | bar: Order Number 6 to Order Number 9
24-48 Vdc | bar: Order Number 6 to Order Number 9
100-250 Vdc / 110-240 Vac | Order Number 6: 3
Network Interfaces | bar: Order Number 7 to Order Number 9
Two duplex LC-type connector 100BASE-FX Ethernet interfaces | bar: Order Number 7 to Order Number 9
Analogue Inputs 1 to 8 | bar: Order Number 8 to Order Number 9
4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | Order Number 8: 2
4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | Order Number 8: 6
4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | bar: Order Number 8 to Order Number 9
Not Installed | bar: Order Number 8 to Order Number 9
Analogue Inputs 9 to 16 | bar: Order Number 9
4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | Order Number 9: 2
4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | Order Number 9: 6
4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | bar: Order Number 9
Not Installed | bar: Order Number 9
Digital Inputs and Digital Outputs - Slot 1
6 x 24-48 V digital inputs and 8 x dry contact digital outputs | bar: Order Number 10
6 x 125 V digital inputs and 8 x dry contact digital outputs | Order Number 10: 2
6 x 250 V digital inputs and 8 x dry contact digital outputs | Order Number 10: 3
6 x 24-48 V digital inputs and 8 x high speed digital outputs | Order Number 10: 4
6 x 125 V digital inputs and 8 x high speed digital outputs | Order Number 10: 5
6 x 250 V digital inputs and 8 x high speed digital outputs | Order Number 10: 6
16 x 24-48 V digital inputs | Order Number 10: 7
16 x 125 V digital inputs | Order Number 10: 8
16 x 250 V digital inputs | Order Number 10: 9
Not Installed | bar: Order Number 10
Digital Inputs and Digital Outputs - Slot 2
6 x 24-48 V digital inputs and 8 x dry contact digital outputs | bar: Order Number 11
6 x 125 V digital inputs and 8 x dry contact digital outputs | Order Number 11: 2
6 x 250 V digital inputs and 8 x dry contact digital outputs | Order Number 11: 3
6 x 24-48 V digital inputs and 8 x high speed digital outputs | Order Number 11: 4
6 x 125 V digital inputs and 8 x high speed digital outputs | Order Number 11: 5
6 x 250 V digital inputs and 8 x high speed digital outputs | Order Number 11: 6
16 x 24-48 V digital inputs | Order Number 11: 7
16 x 125 V digital inputs | Order Number 11: 8
16 x 250 V digital inputs | Order Number 11: 9
Not Installed | bar: Order Number 11
Functions and Application
Standard Integrated Merging Unit | bar: Order Number 12
PRP redundant Integrated Merging Unit | bar: Order Number 12
Customization / Regionalisation
GE branding | bar: Order Number 13
Firmware Version
Latest available firmware - 03 | Order Number 14-15: 03
Hardware Design Suffix
Initial version | bar: Order Number 16

## Configurator
Product is now Obsoleted
MU320 Integrated Merging Unit | [11 empty] | Material Cost
| 1-5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14-15 | 16 | 0
| MU320 | 3 | L | 2 | 2 | 2 | X | A | C | 03 | A | 0
Power Supply | bar: 6 to 10
3
Network Interfaces | bar: 6 to 10
L
Analogue Inputs 1 to 8 | bar: 6 to 10
2
Analogue Inputs 9 to 16 | bar: 6 to 10
2
Digital Inputs and Digital Outputs - Slot 1 | bar: 6 to 10
2
Digital Inputs and Digital Outputs - Slot 2 | bar: 6 to 10
X
Functions and Application | bar: 6 to 10
A
Customization / Regionalisation | bar: 6 to 12
C
Firmware Version | bar: 6 to 13
03
Hardware Design Suffix | bar: 6 to 10; 13 to 14-15
A

## Master Text
Product is now Obsoleted
MU3203L222XAC03A
MU320 Integrated Merging Unit
Power Supply
100-250 Vdc / 110-240 Vac
Network Interfaces
Two duplex LC-type connector 100BASE-FX Ethernet interfaces
Analogue Inputs 1 to 8
4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A)
Analogue Inputs 9 to 16
4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A)
Digital Inputs and Digital Outputs - Slot 1
6 x 125 V digital inputs and 8 x dry contact digital outputs
Digital Inputs and Digital Outputs - Slot 2
Not Installed
Functions and Application
Standard Integrated Merging Unit
Customization / Regionalisation
GE branding
Firmware Version
03
Hardware Design Suffix
Initial version
Issue:
| A | Original Created | 2014-01-15
| B | Added firmware version 02, the 24-48 Vdc power supply option, new I/O boards and the PRP function | 2015-01-16
| C | PRP function optional | 2015-02-23
| D | Added new 40*In analog boards and corrected power supply range for option 3 | 2015-04-09
| E | Changed branding to GE | 2016-05-04
| F | Added firmware version 03 | 2016-09-14
| G | CORTEC 4 to 9 removed from Slots 1 and 2 options | 2017-06-14
| H | CORTEC M added to Slots 1 and 2 options; and CORTEC 4 to 9 added to Slots 1 and 2 options | 2017-09-13
| H2 | Product Obsoleted. Refer to obsolescence notice #GER-4900 and CID007385 | 2022-07-29

## Database (hidden)
| Base date: |  |  | 2017-09-13 |  | Cost | Avail. | Date Drivers start reference | 'Date Drivers'!$AL$1
| Model type: |  |  | MU320 Integrated Merging Unit |  | 0 | Y | Date Drivers finish reference | $AP$500
| Chassis |  |  | MU320
| CORTEC: |  |  | MU3203L222XAC03A
1 | Power Supply | P | 2 | 100-250 Vdc / 110-240 Vac | 3 | 0 | Y
|  | 6 | 1 | 24-48 Vdc | 1 | 0 | Y
|  | 7 | 2 | 100-250 Vdc / 110-240 Vac | 3 | 0 | Y
|  | 8 | 3
2 | Network Interfaces | P | 1 | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L | 0 | Y
|  | 11 | 1 | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L | 0 | Y
|  | 12 | 2
3 | Analogue Inputs 1 to 8 | P | 1 | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 | 0 | Y
|  | 13 | 1 | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 | 0 | Y
|  | 14 | 2 | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 | 0 | Y
|  | 15 | 3 | 4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | M | 0 | Y
|  | 16 | 4 | Not Installed | X | 0 | Y
|  | 17 | 5
|  | 18 | 6
|  | 19 | 7
4 | Analogue Inputs 9 to 16 |  | 1 | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 | 0 | Y
|  | 21 | 1 | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 | 0 | Y
|  | 22 | 2 | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 | 0 | Y
|  | 23 | 3 | 4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | M | 0 | Y
|  | 24 | 4 | Not Installed | X | 0 | Y
|  | 25 | 5
|  | 26 | 6
|  | 27 | 7
5 | Digital Inputs and Digital Outputs - Slot 1 |  | 2 | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 | 0 | Y
|  | 29 | 1 | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 | 0 | Y
|  | 30 | 2 | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 | 0 | Y
|  | 31 | 3 | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 | 0 | Y
|  | 32 | 4 | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 | 0 | Y
|  | 33 | 5 | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 | 0 | Y
|  | 34 | 6 | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 | 0 | Y
|  | 35 | 7 | 16 x 24-48 V digital inputs | 7 | 0 | Y
|  | 36 | 8 | 16 x 125 V digital inputs | 8 | 0 | Y
|  | 37 | 9 | 16 x 250 V digital inputs | 9 | 0 | Y
|  | 38 | 10 | Not Installed | X | 0 | Y
6 | Digital Inputs and Digital Outputs - Slot 2 |  | 10 | Not Installed | X | 0 | Y
|  | 39 | 1 | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 | 0 | Y
|  | 40 | 2 | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 | 0 | Y
|  | 41 | 3 | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 | 0 | Y
|  | 42 | 4 | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 | 0 | Y
|  | 43 | 5 | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 | 0 | Y
|  | 44 | 6 | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 | 0 | Y
|  | 45 | 7 | 16 x 24-48 V digital inputs | 7 | 0 | Y
|  | 46 | 8 | 16 x 125 V digital inputs | 8 | 0 | Y
|  | 47 | 9 | 16 x 250 V digital inputs | 9 | 0 | Y
|  | 48 | 10 | Not Installed | X | 0 | Y
7 | Functions and Application |  | 1 | Standard Integrated Merging Unit | A | 0 | Y
|  | 49 | 1 | Standard Integrated Merging Unit | A | 0 | Y
|  | 50 | 2 | PRP redundant Integrated Merging Unit | B | 0 | Y
8 | Customization / Regionalisation |  | 1 | GE branding | C | 0 | Y
|  | 53 | 1 | GE branding | C | 0 | Y
|  | 54 | 2
|  | 55 | 3
|  | 56 | 4
|  | 57 | 5
9 | Firmware Version |  | 1 | Latest available firmware - 03 | 03 | 0 | Y
|  | 59 | 1 | Latest available firmware - 03 | 03 | 0 | Y
|  | 60 | 2 | Firmware version number - 02 | 02 | 0 | Y
10 | Hardware Design Suffix |  | 1 | Initial version | A | 0 | Y
|  | 62 | 1 | Initial version | A | 0 | Y
|  | 63 | 2

## Date Drivers (hidden)
| Base date: | 2017-09-13 |  |  |  | 2017-09-13 |  |  |  | 2017-09-13 |  |  |  | 2017-09-13 |  |  |  | 2017-09-13 |  |  |  | 2017-09-13 |  |  |  | 2017-09-13 |  |  |  | 2017-09-13
| Key date: | 2014-01-15 |  |  |  | 2015-01-16 |  |  |  | 2015-02-23 |  |  |  | 2015-04-09 |  |  |  | 2016-05-04 |  |  |  | 2016-09-14 |  |  |  | 2017-06-14 |  |  |  | 2017-09-13
Pos | Description | Option | Code | Cost | Avail. | Option | Code | Cost | Avail. | Option | Code | Cost | Avail. | Option | Code | Cost | Avail. | Option | Code | Cost | Avail. | Option | Code | Cost | Avail. | Option | Code | Cost | Avail. | Option | Code | Cost | Avail.
| Model Type | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit |  |  |  | MU320 Integrated Merging Unit
| Chassis | MU320 |  |  | Y | MU320 |  |  | Y | MU320 |  |  | Y | MU320 |  |  | Y | MU320 |  |  | Y | MU320 |  |  | Y | MU320 |  |  | Y | MU320 |  |  | Y
1 | Power Supply | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 24-48 Vdc | 1 |  | N | 24-48 Vdc | 1 |  | N | 24-48 Vdc | 1 |  | N | 24-48 Vdc | 1 |  | N | 24-48 Vdc | 1 |  | N | 24-48 Vdc | 1 |  | N | 24-48 Vdc | 1 |  | N
[6 empty] | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 100-250 Vdc / 110-240 Vac | 3 |  | Y | 100-250 Vdc / 110-240 Vac | 3 |  | Y
2 | Network Interfaces | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | L |  | Y
3 | Analogue Inputs 1 to 8 | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 1 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 1 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 1 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y
|  | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 5 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 5 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 5 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y
|  | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | 4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | M |  | Y
[30 empty] | Not Installed | X |  | Y
4 | Analogue Inputs 9 to 16 | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 1 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 1 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 1 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 2 |  | Y
|  | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 5 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 5 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 5 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 6 |  | Y
|  | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | 4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | M |  | Y
[30 empty] | Not Installed | X |  | Y
5 | Digital Inputs and Digital Outputs - Slot 1 | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y
|  | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y
|  | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y
|  | Not Installed | X |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | Not Installed | X |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y
[6 empty] | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | N | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | N | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y |  |  |  | Y | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y
[6 empty] | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | N | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | N | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y |  |  |  | Y | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y
[6 empty] | 16 x 24-48 V digital inputs | 7 |  | N | 16 x 24-48 V digital inputs | 7 |  | N | 16 x 24-48 V digital inputs | 7 |  | Y | 16 x 24-48 V digital inputs | 7 |  | Y | 16 x 24-48 V digital inputs | 7 |  | Y |  |  |  | Y | 16 x 24-48 V digital inputs | 7 |  | Y
[6 empty] | 16 x 125 V digital inputs | 8 |  | N | 16 x 125 V digital inputs | 8 |  | N | 16 x 125 V digital inputs | 8 |  | Y | 16 x 125 V digital inputs | 8 |  | Y | 16 x 125 V digital inputs | 8 |  | Y |  |  |  | Y | 16 x 125 V digital inputs | 8 |  | Y
[6 empty] | 16 x 250 V digital inputs | 9 |  | N | 16 x 250 V digital inputs | 9 |  | N | 16 x 250 V digital inputs | 9 |  | Y | 16 x 250 V digital inputs | 9 |  | Y | 16 x 250 V digital inputs | 9 |  | Y |  |  |  | Y | 16 x 250 V digital inputs | 9 |  | Y
[6 empty] | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y |  |  |  | Y | Not Installed | X |  | Y
6 | Digital Inputs and Digital Outputs - Slot 2 | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 1 |  | Y
|  | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 2 |  | Y
|  | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 3 |  | Y
|  | Not Installed | X |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y | Not Installed | X |  | Y | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 4 |  | Y
[6 empty] | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | N | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | N | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y |  |  |  | Y | 6 x 125 V digital inputs and 8 x high speed digital outputs | 5 |  | Y
[6 empty] | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | N | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | N | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y |  |  |  | Y | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 |  | Y
[6 empty] | 16 x 24-48 V digital inputs | 7 |  | N | 16 x 24-48 V digital inputs | 7 |  | N | 16 x 24-48 V digital inputs | 7 |  | Y | 16 x 24-48 V digital inputs | 7 |  | Y | 16 x 24-48 V digital inputs | 7 |  | Y |  |  |  | Y | 16 x 24-48 V digital inputs | 7 |  | Y
[6 empty] | 16 x 125 V digital inputs | 8 |  | N | 16 x 125 V digital inputs | 8 |  | N | 16 x 125 V digital inputs | 8 |  | Y | 16 x 125 V digital inputs | 8 |  | Y | 16 x 125 V digital inputs | 8 |  | Y |  |  |  | Y | 16 x 125 V digital inputs | 8 |  | Y
[6 empty] | 16 x 250 V digital inputs | 9 |  | N | 16 x 250 V digital inputs | 9 |  | N | 16 x 250 V digital inputs | 9 |  | Y | 16 x 250 V digital inputs | 9 |  | Y | 16 x 250 V digital inputs | 9 |  | Y |  |  |  | Y | 16 x 250 V digital inputs | 9 |  | Y
[6 empty] | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y | Not Installed | X |  | Y |  |  |  | Y | Not Installed | X |  | Y
7 | Functions and Application | Standard Integrated Merging Unit | A |  | Y | PRP redundant Integrated Merging Unit | A |  | Y | Standard Integrated Merging Unit | A |  | Y | Standard Integrated Merging Unit | A |  | Y | Standard Integrated Merging Unit | A |  | Y | Standard Integrated Merging Unit | A |  | Y | Standard Integrated Merging Unit | A |  | Y | Standard Integrated Merging Unit | A |  | Y
[10 empty] | PRP redundant Integrated Merging Unit | B |  | Y | PRP redundant Integrated Merging Unit | B |  | Y | PRP redundant Integrated Merging Unit | B |  | Y | PRP redundant Integrated Merging Unit | B |  | Y | PRP redundant Integrated Merging Unit | B |  | Y | PRP redundant Integrated Merging Unit | B |  | Y
8 | Customization / Regionalisation | Default | A |  | Y | Default | A |  | Y | Default | A |  | Y | Default | A |  | Y | GE branding | C |  | Y | GE branding | C |  | Y | GE branding | C |  | Y | GE branding | C |  | Y
|  | Reason branding | B |  | Y | Reason branding | B |  | Y | Reason branding | B |  | Y | Reason branding | B |  | Y
9 | Firmware Version | Firmware version number | 01 |  | Y | Firmware version number | 02 |  | Y | Firmware version number | 02 |  | Y | Firmware version number | 02 |  | Y | Firmware version number | 02 |  | Y | Latest available firmware - 03 | 03 |  | Y | Latest available firmware - 03 | 03 |  | Y | Latest available firmware - 03 | 03 |  | Y
[22 empty] | Firmware version number - 02 | 02 |  | Y | Firmware version number - 02 | 02 |  | Y | Firmware version number - 02 | 02 |  | Y
10 | Hardware Design Suffix | Initial version | A |  | Y | Initial version | A |  | Y | Initial version | A |  | Y | Initial version | A |  | Y | Initial version | A |  | Y | Initial version | A |  | Y | Initial version | A |  | Y | Initial version | A |  | Y

## Language (hidden)
| Languages |  | En | Pt | Es
|  |  | Model Type | Modelo | Modelo
1 | English | En | Integrated Merging Unit | Merging Unit Integrada | Unidad de Fusión de Subestación Digital
1 | English | En | MU320 | MU320 | MU320
2 | Português | Pt | Power Supply | Alimentação | Alimentación
3 | Espanhol | Es | 100-250 Vdc / 110-240 Vac | 100-250 Vcc / 110-240 Vca | 100-250 Vcc / 110-240 Vca
|  |  | Network Interfaces | Interfaces de Rede | Interfaces de Red
|  |  | Two duplex LC-type connector 100BASE-FX Ethernet interfaces | Duas interfaces Ethernet 100BASE-FX com conectores tipo LC duplex | Dos interfaces Ethernet 100BASE-FX con conectores tipo LC dúplex
|  |  | Analogue Inputs 1 to 8 | Entradas Analógicas 1 a 8 | Entradas Analógicas 1-8
|  |  | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 20 A (Ith = 32 A) | 4 entradas de tensão de 115 V / 4 entradas de corrente de 1 A; fundo de escala 20 A (Ith = 32 A) | 4 entradas de tensión de 115 V / 4 entradas de corriente de 1 A; plena escala 20 A (Ith = 32 A)
|  |  | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 100 A (Ith = 160 A) | 4 entradas de tensão de 115 V / 4 entradas de corrente de 5 A; fundo de escala 100 A (Ith = 160 A) | 4 entradas de tensión de 115 V / 4 entradas de corriente de 5 A; plena escala 100 A (Ith = 160 A)
|  |  | Not Installed | Não Instalado | No Instalado
|  |  | Analogue Inputs 9 to 16 | Entradas Analógicas 9 a 16 | Entradas Analógicas 9-16
|  |  | Digital Inputs and Digital Outputs - Slot 1 | Entradas e Saídas Digitais - Slot 1 | Entradas y Salidas Digitales - Slot 1
|  |  | 6 x 24-48 V digital inputs and 8 x dry contact digital outputs | 6 entradas digitais de 24-48 V e 8 saídas digitais de contato seco | 6 entradas de digitales de 24-48V y 8 salidas digitales de contacto seco
|  |  | 6 x 125 V digital inputs and 8 x dry contact digital outputs | 6 entradas digitais de 125 V e 8 saídas digitais de contato seco | 6 entradas de digitales de 125 V y 8 salidas digitales de contacto seco
|  |  | 6 x 250 V digital inputs and 8 x dry contact digital outputs | 6 entradas digitais de 250 V e 8 saídas digitais de contato seco | 6 entradas de digitales de 250 V y 8 salidas digitales de contacto seco
|  |  | Digital Inputs and Digital Outputs - Slot 2 | Entradas e Saídas Digitais - Slot 2 | Entradas y Salidas Digitales - Slot 2
|  |  | Functions and Application | Funções e Aplicação | Funciones y Aplicaciones
|  |  | Standard Integrated Merging Unit | Merging Unit Integrada | Unidad de Fusión Integrada
|  |  | Customization / Regionalisation | Customização / Regionalização | Personalización / Regionalización
|  |  | Default | Default | Default
|  |  | Reason branding | Marca Reason | Marca Reason
|  |  | GE branding | Marca GE | Marca GE
|  |  | Firmware Version | Versão de Firmware | Versión del Firmware
|  |  | Firmware version number | Número da Versão do Firmware | Número de Versión del Firmware
|  |  | Hardware Design Suffix | Sufixo Designador do Hardware | Sufijo Designdador del Hardware
|  |  | Initial version | Versão Inicial | Versión Inicial
|  |  | Issue: | Emissão: | Emisión:
|  |  | Original Created | Criado Originalmente | Creado Originalmente
|  |  | Language Selection | Seleção de Idioma | Selección del Idioma
|  |  | Our policy is one of continuous development. Accordingly the design of our products may change at any time. | Nossa política é de desenvolvimento contínuo. Portanto, o projeto de nossos produtos pode mudar a qualquer momento. | Nuestra política es de desarrollo continuo. Por lo tanto el diseño de nuestros productos puede cambiar en cualquier momento.
|  |  | Whilst every effort is made to produce up to date literature, this document should only be regarded as a guide and is intended for information purposes only. | Embora sejam demandados esforços para manter a documentação atualizada, este documento deve ser visto como um guia e destina-se apenas para fins informativos. | A pesar del esfuerzo por producir literatura actualizada, este documento sólo debe considerarse como una guía y está destinada únicamente a fines informativos.
|  |  | Its contents do not constitute an offer for sale or advice on the application of any product referred to in it. We cannot be held responsible for any reliance on any decisions taken on its contents without specific advice. | Seu conteúdo não constitui uma proposta para venda ou recomendação sobre a aplicação de qualquer produto nele mencionado. Nós não podemos ser responsabilizados por quaisquer consequências em decisões tomadas sobre o seu conteúdo, sem recomendações específicas. | Su contenido no constituye una oferta de venta o asesoramiento en la aplicación de cualquier producto contemplado en el mismo. No podemos ser responsables por cualquier dependencia de las decisiones adoptadas en su contenido sin notificación al respecto.
|  |  | Information required with order: | Informações requeridas para o pedido: | Información necesaria para la orden de compra:
|  |  | Variants | Variantes | Variantes
|  |  | Order Number | Order Number | Número de Orden
|  |  | New function | Nova função | Nueva función
|  |  | 24-48 Vdc | 24-48 Vcc | 24-48 Vcc
|  |  | 6 x 24-48 V digital inputs and 8 x high speed digital outputs | 6 entradas digitais de 24-48 V e 8 saídas digitais rápidas | 6 entradas de digitales de 24-48V y 8 salidas digitales rápidas
|  |  | 6 x 125 V digital inputs and 8 x high speed digital outputs | 6 entradas digitais de 125 V e 8 saídas digitais rápidas | 6 entradas de digitales de 125 V y 8 salidas digitales rápidas
|  |  | 6 x 250 V digital inputs and 8 x high speed digital outputs | 6 entradas digitais de 250 V e 8 saídas digitais rápidas | 6 entradas de digitales de 250 V y 8 salidas digitales rápidas
|  |  | 16 x 24-48 V digital inputs | 16 entradas digitais de 24-48 V | 16 entradas de digitales de 24-48V
|  |  | 16 x 125 V digital inputs | 16 entradas digitais de 125 V | 16 entradas de digitales de 125 V
|  |  | 16 x 250 V digital inputs | 16 entradas digitais de 250 V | 16 entradas de digitales de 250 V
|  |  | Added firmware version 02, the 24-48 Vdc power supply option, new I/O boards and the PRP function | Adicionada a versão de firmware 02, a opção de fonte 24-48 Vcc, novas opções de entradas e saidas digitais e a função PRP | Añadida la vérsion de firmware 02, la opción de alimentación 24-48 Vcc, nuevas opciones de entradas y salidas digitales y la función PRP
|  |  | PRP redundant Integrated Merging Unit | Merging Unit Integrada com redudância PRP | Unidad de Fusión Integrada con redundancia PRP
|  |  | Material Cost | Custo de Material | Costo de Materiales
|  |  | Orders on request | Venda sob-consulta | Pedidos mediante consulta
|  |  | PRP function optional | Função PRP opcional | Funición PRP opcional
|  |  | 4 voltage inputs 115 V / 4 current inputs 1 A; full-scale 40 A (Ith = 100 A) | 4 entradas de tensão de 115 V / 4 entradas de corrente de 1 A; fundo de escala 40 A (Ith = 100 A) | 4 entradas de tensión de 115 V / 4 entradas de corriente de 1 A; plena escala 40 A (Ith = 100 A)
|  |  | 4 voltage inputs 115 V / 4 current inputs 5 A; full-scale 200 A (Ith = 320 A) | 4 entradas de tensão de 115 V / 4 entradas de corrente de 5 A; fundo de escala 200 A (Ith = 320 A) | 4 entradas de tensión de 115 V / 4 entradas de corriente de 5 A; plena escala 200 A (Ith = 320 A)
|  |  | Added new 40*In analog boards and corrected power supply range for option 3 | Adicionada novas placas analógicas de 40*In e corrigido os valores nominais para fonte de alimentação opção 3 | Añadidas nuevas tarjetas analógicas de 40*In y ajustados los valores nominales de la alimentación opción 3
|  |  | Changed branding to GE | Alterada a marca para GE | Cambiada la marca para GE
|  |  | Latest available firmware | Última versão disponível | Última versión disponible
|  |  | Added firmware version 03 | Adicionada a versão de firmware 03 | Añadida la vérsion de firmware 03
|  |  | CORTEC 4 to 9 removed from Slots 1 and 2 options | CORTEC 4 a 9 removidos das opções dos slots 1 e 2 | CORTEC 4-9 retirado de las opciones de los slots 1 y 2
|  |  | 4 x VT 115 V / 4 CT for 1-5 A RMS measurement analog inputs; full-scale 10 A (Ith = 100 A) | 4 x TP 115 V / 4 x TC de 1-5 A RMS entradas analógicas de medição; fundo de escala 10 A (Ith = 100 A) | 4 x TP 115 V / 4 x TC de 1-5 A RMS entradas analógicas de medición; plena escala 10 A (Ith = 100 A)
|  |  | CORTEC M added to Slots 1 and 2 options; and CORTEC 4 to 9 added to Slots 1 and 2 options | CORTEC M adicionado às opções dos slots 1 e 2; e CORTEC 4 a 9 adicionados às opções dos slots 1 e 2 | CORTEC M agregado en las opciones de los slots 1 y 2; y CORTEC 4-9 agregado en las opciones de los slots 1 y 2